**Date:** January 21, 2018

**To:** Kelly Tayara, Planning Department

**From:** Assistant Chief Luke Carpenter, Fire Marshal

**Re:** Madison Landing PLN50879SPR

The submittal has been reviewed resulting in the following comments:

1. The proposed project shall comply with all provisions of the adopted Fire Code.
2. All previous comments remain in force.
3. Landscaping shall maintain a three foot clearance around all fire department equipment including fire hydrants, fire department connections and post indicator valves.